## Note
Model | NoteId | UOM | Weighting | NoteText
YPAL | 1 | B | 10 | BACnet MS/TP communications
YPAL | 2 | B | 10 | Modbus communications
YPAL | 3 | B | 10 | Provide double-wall construction for roof, walls, doors and floor panels
YPAL | 4 | B | 10 | Stainless steel double-sloped drain pan
YPAL | 5 | B | 10 | SWSI return fan
YPAL | 6 | B | 10 | DWDI centrifugal exhaust fan
YPAL | 7 | B | 10 | DWDI airfoil supply fan
YPAL | 8 | B | 10 | Supply fan VFD
YPAL | 9 | B | 10 | Exhaust fan VFD
YPAL | 10 | B | 10 | Return fan VFD
YPAL | 11 | B | 10 | Supply & exhaust fan VFD
YPAL | 12 | B | 10 | Supply & return fan VFD
YPAL | 13 | B | 20 | Supply fan VFD with manual bypass
YPAL | 14 | B | 20 | Exhaust fan VFD with manual bypass
YPAL | 15 | B | 20 | Return fan VFD with manual bypass
YPAL | 16 | B | 20 | Supply & exhaust fan VFDs with manual bypass
YPAL | 17 | B | 20 | Supply & return fan VFDs with manual bypass
YPAL | 18 | B | 30 | High-efficiency ODP motors
YPAL | 19 | B | 30 | Premium-efficiency ODP motors
YPAL | 20 | B | 30 | High-efficiency TEFC motors
YPAL | 21 | B | 30 | Premium-efficiency TEFC motors
YPAL | 22 | E | 20 | Low ambient required for 0-115°F operation
YPAL | 22 | M | 20 | Low ambient required for -18 to 46°C operation
YPAL | 23 | E | 20 | Low ambient required for 0-115°F operation, systems one and two
YPAL | 23 | M | 20 | Low ambient required for -18 to 46°C operation, systems one and two
YPAL | 24 | E | 20 | Low ambient required for 0-115°F operation
YPAL | 24 | M | 20 | Low ambient required for -18 to 46°C operation
YPAL | 25 | B | 30 | TEAO condenser fan motors
YPAL | 26 | B | 30 | Single-point power with non-fused disconnect switch
YPAL | 27 | B | 30 | Single-point power connection
YPAL | 28 | B | 30 | Dual-point power connection
YPAL | 29 | B | 10 | Horizontal supply duct connection
YPAL | 30 | B | 10 | Horizontal return duct connection
YPAL | 31 | B | 10 | Bottom supply duct connection
YPAL | 32 | B | 10 | Bottom return duct connection
YPAL | 33 | B | 10 | Shrinkwrap unit for shipment
YPAL | 34 | B | 30 | 100% modulating economizer
YPAL | 35 | B | 30 | 100% sensing airflow measurement
YPAL | 36 | B | 10 | 25%/75% sensing airflow measurement
YPAL | 37 | B | 10 | 25% sensing airflow measurement
YPAL | 38 | B | 30 | Two-position outside air damper
YPAL | 39 | B | 30 | Single-enthalpy economizer control
YPAL | 40 | B | 30 | Dual-enthalpy economizer control
YPAL | 41 | B | 10 | 8:1 modulating gas heat
YPAL | 42 | B | 10 | 16:1 modulating gas heat
YPAL | 43 | B | 10 | 24:1 modulating gas heat
YPAL | 44 | B | 10 | 2-stage gas heat
YPAL | 45 | B | 10 | 4-stage gas heat
YPAL | 46 | B | 10 | 6-stage gas heat
YPAL | 47 | B | 10 | HFC refrigerant
YPAL | 48 | B | 30 | Analog inputs for remote SAT and duct static pressure reset
YPAL | 50 | B | 30 | Alarm outputs - fan failure, cooling/heating failure and dirty filter alarm
YPAL | 51 | B | 30 | Provide thermostat
YPAL | 52 | B | 30 | Provide space sensor, no setpoint adjustment
YPAL | 53 | B | 30 | Provide spring isolators with 1" deflection with seismic restraints
YPAL | 54 | B | 30 | Provide spring isloators with 2" deflection with seismic restraints
YPAL | 55 | B | 20 | Copper fin condenser coil
YPAL | 56 | B | 20 | Provide condener coils with black epoxy coated fins
YPAL | 57 | B | 20 | Condenser coils to be epoxy dipped after fabrication
YPAL | 58 | B | 20 | Copper fin evaporator coil
YPAL | 59 | B | 30 | Wire grill enclosures for full unit
YPAL | 60 | B | 30 | Louvered enclosure panels for full unit
YPAL | 61 | B | 30 | Acoustic compressor blankets
YPAL | 62 | B | 20 | Tilt-out outside air rainhoods
YPAL | 63 | B | 10 | Provide diffuser section
YPAL | 64 | B | 10 | Magnehelic filter pressure gauge
YPAL | 65 | B | 10 | Final filter segment with 12-inch rigid filters, 90-95% efficient
YPAL | 66 | B | 30 | 2" throwaway filters
YPAL | 67 | B | 30 | 2" cleanable filters
YPAL | 68 | B | 30 | 2" high efficiency pleated filters
YPAL | 69 | B | 30 | 2" carbon filters
YPAL | 70 | B | 30 | 12-inch rigid filters, 60-65% efficient
YPAL | 71 | B | 30 | 12-inch rigid filters, 90-95% efficient
YPAL | 72 | B | 30 | CO2 sensor
YPAL | 73 | B | 30 | Provide neoprene vibration isloators
YPAL | 74 | B | 30 | Provide spring type isolators with 1" deflection
YPAL | 75 | B | 30 | Provide spring type isloators with 2" deflection
YPAL | 76 | B | 30 | Hot gas bypass on one circuit
YPAL | 77 | B | 30 | Hot gas bypass on all circuits
YPAL | 78 | B | 30 | Provide 115V, GFI convenience outlet (powered)
YPAL | 79 | B | 10 | Provide suction & discharge service valve for each compressor
YPAL | 80 | B | 10 | Replaceable core filter drier
YPAL | 81 | B | 30 | Exhaust fan with damper control
YPAL | 82 | B | 20 | Min. 3% line reactor on blower motors with VFDs
YPAL | 83 | B | 30 | 1st Year Parts & Labor warranty
YPAL | 84 | B | 30 | 2nd Year Parts Only warranty
YPAL | 85 | B | 30 | 2nd Year Parts & Labor warranty
YPAL | 86 | B | 30 | 5 Year Compressor Parts Only warranty
YPAL | 87 | B | 30 | 5 Yr Compressor Parts & Labor warranty
YPAL | 88 | B | 30 | 5 Year Unit Parts Only warranty
YPAL | 89 | B | 30 | 5 Year Unit Parts & Labor warranty
YPAL | 90 | B | 30 | 1 Year refrigerant warranty
YPAL | 91 | B | 30 | 2 Year refrigerant warranty
YPAL | 92 | B | 30 | 5 Year refrigerant warranty
YPAL | 93 | B | 30 | 2-way hot water valve
YPAL | 94 | B | 30 | 3-way hot water valve
YPAL | 95 | B | 30 | 14-inch open condenser roof curb
YPAL | 96 | B | 30 | 14-inch full perimeter roof curb
YPAL2 | 1 | B | 10 | BACnet MS/TP communications
YPAL2 | 2 | B | 10 | Modbus communications
YPAL2 | 3 | B | 10 | Provide double-wall construction for roof, walls, doors and floor panels
YPAL2 | 4 | B | 10 | Stainless steel double-sloped drain pan
YPAL2 | 5 | B | 10 | SWSI return fan
YPAL2 | 6 | B | 10 | DWDI centrifugal exhaust fan
YPAL2 | 7 | B | 10 | DWDI airfoil supply fan
YPAL2 | 8 | B | 10 | Supply fan VFD
YPAL2 | 9 | B | 10 | Exhaust fan VFD
YPAL2 | 10 | B | 10 | Return fan VFD
YPAL2 | 11 | B | 10 | Supply & exhaust fan VFD
YPAL2 | 12 | B | 10 | Supply & return fan VFD
YPAL2 | 13 | B | 20 | Supply fan VFD with manual bypass
YPAL2 | 14 | B | 20 | Exhaust fan VFD with manual bypass
YPAL2 | 15 | B | 20 | Return fan VFD with manual bypass
YPAL2 | 16 | B | 20 | Supply & exhaust fan VFDs with manual bypass
YPAL2 | 17 | B | 20 | Supply & return fan VFDs with manual bypass
YPAL2 | 18 | B | 30 | High-efficiency ODP motors
YPAL2 | 19 | B | 30 | Premium-efficiency ODP motors
YPAL2 | 20 | B | 30 | High-efficiency TEFC motors
YPAL2 | 21 | B | 30 | Premium-efficiency TEFC motors
YPAL2 | 22 | E | 20 | Low ambient required for 0-115°F operation
YPAL2 | 22 | M | 20 | Low ambient required for -18 to 46°C operation
YPAL2 | 23 | E | 20 | Low ambient required for 0-115°F operation, systems one and two
YPAL2 | 23 | M | 20 | Low ambient required for -18 to 46°C operation, systems one and two
YPAL2 | 24 | E | 20 | Low ambient required for 0-115°F operation
YPAL2 | 24 | M | 20 | Low ambient required for -18 to 46°C operation
YPAL2 | 25 | B | 30 | TEAO condenser fan motors
YPAL2 | 26 | B | 30 | Single-point power with non-fused disconnect switch
YPAL2 | 27 | B | 30 | Single-point power connection
YPAL2 | 28 | B | 30 | Dual-point power connection
YPAL2 | 29 | B | 10 | Horizontal supply duct connection
YPAL2 | 30 | B | 10 | Horizontal return duct connection
YPAL2 | 31 | B | 10 | Bottom supply duct connection
YPAL2 | 32 | B | 10 | Bottom return duct connection
YPAL2 | 33 | B | 10 | Shrinkwrap unit for shipment
YPAL2 | 34 | B | 30 | 100% modulating economizer
YPAL2 | 35 | B | 30 | 100% sensing airflow measurement
YPAL2 | 36 | B | 10 | 25%/75% sensing airflow measurement
YPAL2 | 37 | B | 10 | 25% sensing airflow measurement
YPAL2 | 38 | B | 30 | Two-position outside air damper
YPAL2 | 39 | B | 30 | Single-enthalpy economizer control
YPAL2 | 40 | B | 30 | Dual-enthalpy economizer control
YPAL2 | 41 | B | 10 | 8:1 modulating gas heat
YPAL2 | 42 | B | 10 | 16:1 modulating gas heat
YPAL2 | 43 | B | 10 | 24:1 modulating gas heat
YPAL2 | 44 | B | 10 | 2-stage gas heat
YPAL2 | 45 | B | 10 | 4-stage gas heat
YPAL2 | 46 | B | 10 | 6-stage gas heat
YPAL2 | 47 | B | 10 | HFC refrigerant
YPAL2 | 48 | B | 30 | Analog inputs for remote SAT and duct static pressure reset
YPAL2 | 50 | B | 30 | Alarm outputs - fan failure, cooling/heating failure and dirty filter alarm
YPAL2 | 51 | B | 30 | Provide thermostat
YPAL2 | 52 | B | 30 | Provide space sensor, no setpoint adjustment
YPAL2 | 53 | B | 30 | Provide spring isolators with 1" deflection with seismic restraints
YPAL2 | 54 | B | 30 | Provide spring isloators with 2" deflection with seismic restraints
YPAL2 | 55 | B | 20 | Copper fin condenser coil
YPAL2 | 56 | B | 20 | Provide condener coils with black epoxy coated fins
YPAL2 | 57 | B | 20 | Condenser coils to be epoxy dipped after fabrication
YPAL2 | 58 | B | 20 | Copper fin evaporator coil
YPAL2 | 59 | B | 30 | Wire grill enclosures for full unit
YPAL2 | 60 | B | 30 | Louvered enclosure panels for full unit
YPAL2 | 61 | B | 30 | Acoustic compressor blankets
YPAL2 | 62 | B | 20 | Tilt-out outside air rainhoods
YPAL2 | 63 | B | 10 | Provide diffuser section
YPAL2 | 64 | B | 10 | Magnehelic filter pressure gauge
YPAL2 | 65 | B | 10 | Final filter segment with 12-inch rigid filters, 90-95% efficient
YPAL2 | 66 | B | 30 | 2" throwaway filters
YPAL2 | 67 | B | 30 | 2" cleanable filters
YPAL2 | 68 | B | 30 | 2" high efficiency pleated filters
YPAL2 | 69 | B | 30 | 2" carbon filters
YPAL2 | 70 | B | 30 | 12-inch rigid filters, 60-65% efficient
YPAL2 | 71 | B | 30 | 12-inch rigid filters, 90-95% efficient
YPAL2 | 72 | B | 30 | CO2 sensor
YPAL2 | 73 | B | 30 | Provide neoprene vibration isloators
YPAL2 | 74 | B | 30 | Provide spring type isolators with 1" deflection
YPAL2 | 75 | B | 30 | Provide spring type isloators with 2" deflection
YPAL2 | 76 | B | 30 | Hot gas bypass on one circuit
YPAL2 | 77 | B | 30 | Hot gas bypass on all circuits
YPAL2 | 78 | B | 30 | Provide 115V, GFI convenience outlet (powered)
YPAL2 | 79 | B | 10 | Provide suction & discharge service valve for each compressor
YPAL2 | 80 | B | 10 | Replaceable core filter drier
YPAL2 | 81 | B | 30 | Exhaust fan with damper control
YPAL2 | 82 | B | 20 | Min. 3% line reactor on blower motors with VFDs
YPAL2 | 83 | B | 30 | 1st Year Parts & Labor warranty
YPAL2 | 84 | B | 30 | 2nd Year Parts Only warranty
YPAL2 | 85 | B | 30 | 2nd Year Parts & Labor warranty
YPAL2 | 86 | B | 30 | 5 Year Compressor Parts Only warranty
YPAL2 | 87 | B | 30 | 5 Yr Compressor Parts & Labor warranty
YPAL2 | 88 | B | 30 | 5 Year Unit Parts Only warranty
YPAL2 | 89 | B | 30 | 5 Year Unit Parts & Labor warranty
YPAL2 | 90 | B | 30 | 1 Year refrigerant warranty
YPAL2 | 91 | B | 30 | 2 Year refrigerant warranty
YPAL2 | 92 | B | 30 | 5 Year refrigerant warranty
YPAL2 | 93 | B | 30 | 2-way hot water valve
YPAL2 | 94 | B | 30 | 3-way hot water valve
YPAL2 | 95 | B | 30 | 14-inch open condenser roof curb
YPAL2 | 96 | B | 30 | 14-inch full perimeter roof curb
YPAL3 | 1 | B | 10 | BACnet MS/TP or MODbus communications
YPAL3 | 2 | B | 10 | Airfoil supply blower
YPAL3 | 3 | B | 10 | Double-wall construction for roof, walls, doors and floor panels
YPAL3 | 4 | B | 10 | Stainless steel double-sloped drain pan
YPAL3 | 5 | B | 10 | SWSI return fan
YPAL3 | 6 | B | 10 | DWDI centrifugal exhaust fan
YPAL3 | 7 | B | 10 | DWDI airfoil supply fan
YPAL3 | 8 | B | 10 | Supply fan with VFD
YPAL3 | 9 | B | 10 | Powered exhaust fan with VFD
YPAL3 | 10 | B | 10 | Return air fan with VFD
YPAL3 | 11 | B | 10 | Supply & exhaust fan VFD
YPAL3 | 12 | B | 10 | Supply & return fan VFD
YPAL3 | 13 | B | 20 | Supply fan VFD with manual bypass
YPAL3 | 14 | B | 20 | Powered exhaust fan with VFD and manual bypass
YPAL3 | 15 | B | 20 | Return fan VFD with manual bypass
YPAL3 | 16 | B | 20 | Supply & exhaust fan VFDs and manual bypass
YPAL3 | 17 | B | 20 | Supply & return fan VFDs with manual bypass
YPAL3 | 18 | B | 30 | High-efficiency ODP motors
YPAL3 | 19 | B | 30 | Premium-efficiency ODP motors
YPAL3 | 20 | B | 30 | High-efficiency TEFC motors
YPAL3 | 21 | B | 30 | Premium-efficiency TEFC motors
YPAL3 | 22 | E | 20 | Low ambient required for 0-115°F operation
YPAL3 | 22 | M | 20 | Low ambient required for -18 to 46°C operation
YPAL3 | 23 | E | 20 | Low ambient required for 0-115°F operation, systems one and two
YPAL3 | 23 | M | 20 | Low ambient required for -18 to 46°C operation, systems one and two
YPAL3 | 25 | B | 30 | TEAO condenser fan motors
YPAL3 | 26 | B | 30 | Single-point power with non-fused disconnect switch
YPAL3 | 27 | B | 30 | Single-point power connection
YPAL3 | 28 | B | 30 | Dual-point power connection
YPAL3 | 29 | B | 10 | Horizontal supply duct connection
YPAL3 | 30 | B | 10 | Horizontal return duct connection
YPAL3 | 31 | B | 10 | Bottom supply duct connection
YPAL3 | 32 | B | 10 | Bottom return duct connection
YPAL3 | 33 | B | 10 | Microprocessor controller
YPAL3 | 34 | B | 30 | 100% modulating economizer
YPAL3 | 35 | B | 30 | 100% sensing airflow measurement
YPAL3 | 36 | B | 10 | 25%/75% sensing airflow measurement
YPAL3 | 37 | B | 10 | 25% sensing airflow measurement
YPAL3 | 38 | B | 30 | Two-position outside air damper
YPAL3 | 39 | B | 30 | Single-enthalpy economizer control
YPAL3 | 40 | B | 30 | Dual-enthalpy economizer control
YPAL3 | 41 | E | 10 | 375 mbh input gas heat, 8:1 modulating control
YPAL3 | 42 | E | 10 | 750 mbh input gas heat, 16:1 modulating control
YPAL3 | 43 | E | 10 | 1125 mbh input gas heat, 24:1 modulating control
YPAL3 | 44 | E | 10 | 375 mbh input gas heat, 2-steps of heating
YPAL3 | 45 | E | 10 | 750 mbh input gas heat, 4-steps of heating
YPAL3 | 46 | E | 10 | 1125 mbh input gas heat, 6-steps of heating
YPAL3 | 47 | B | 10 | HFC refrigerant
YPAL3 | 48 | B | 30 | Analog inputs for remote SAT and duct static pressure reset
YPAL3 | 50 | B | 30 | Alarm outputs - fan failure, cooling/heating failure and dirty filter alarm
YPAL3 | 51 | B | 30 | Provide thermostat
YPAL3 | 52 | B | 30 | Provide space sensor, no setpoint adjustment
YPAL3 | 53 | B | 30 | 1-inch spring isolation with seismic restraints on supply vlower
YPAL3 | 54 | B | 30 | 2-inch spring isolation with seismic restraints on supply blower
YPAL3 | 55 | B | 20 | Copper fin condenser coil
YPAL3 | 56 | B | 20 | Provide condener coils with black epoxy coated fins
YPAL3 | 57 | B | 20 | Condenser coils to be epoxy dipped after fabrication
YPAL3 | 58 | B | 20 | Copper fin evaporator coil
YPAL3 | 59 | B | 30 | Wire grill enclosures for condenser section
YPAL3 | 60 | B | 30 | Louvered enclosure panels for condenser section
YPAL3 | 61 | B | 30 | Acoustic compressor blankets
YPAL3 | 62 | B | 20 | Tilt-out outside air rainhoods
YPAL3 | 63 | B | 10 | Provide diffuser section
YPAL3 | 64 | B | 10 | Magnehelic filter pressure gauge
YPAL3 | 65 | E | 10 | Downstream final filter segment with 12-inch rigid filters, 90-95% efficient
YPAL3 | 66 | E | 30 | 2" throwaway filters
YPAL3 | 67 | E | 30 | 2" cleanable filters
YPAL3 | 68 | E | 30 | 2" high efficiency pleated filters
YPAL3 | 69 | E | 30 | 2" carbon filters
YPAL3 | 70 | E | 30 | 12-inch rigid filters, 60-65% efficient
YPAL3 | 71 | E | 30 | 12-inch rigid filters, 90-95% efficient
YPAL3 | 72 | B | 30 | CO2 sensor
YPAL3 | 73 | B | 30 | Neoprene vibration isloators for powered exhaust fans
YPAL3 | 74 | B | 30 | 1-inch spring isolation on supply blower
YPAL3 | 75 | B | 30 | 2-inch spring isolation on supply blower
YPAL3 | 76 | B | 30 | Hot gas bypass on one circuit
YPAL3 | 77 | B | 30 | Hot gas bypass on all circuits
YPAL3 | 78 | E | 30 | Provide 115V, GFI convenience outlet (powered)
YPAL3 | 79 | B | 10 | Suction, discharge and liquid line compressor isolation valves
YPAL3 | 80 | B | 10 | Replaceable core filter drier
YPAL3 | 81 | B | 30 | Powered exhaust fan with modulating damper control
YPAL3 | 83 | B | 30 | 1st Year Parts & Labor warranty
YPAL3 | 84 | B | 30 | 2 Year Parts Only warranty
YPAL3 | 85 | B | 30 | 2nd Year Parts & Labor warranty
YPAL3 | 86 | B | 30 | 5 Year Compressor Parts Only warranty
YPAL3 | 87 | B | 30 | 5 Yr Compressor Parts & Labor warranty
YPAL3 | 88 | B | 30 | 5 Year Unit Parts Only warranty
YPAL3 | 89 | B | 30 | 5 Year Unit Parts & Labor warranty
YPAL3 | 93 | B | 30 | 2-way hot water valve
YPAL3 | 94 | B | 30 | 3-way hot water valve
YPAL3 | 95 | E | 30 | 14-inch open condenser roof curb
YPAL3 | 96 | E | 30 | 14-inch full perimeter roof curb
YPAL3 | 99 | B | 10 | Downstream final filter segment with filter tracks and no media
YPAL3 | 100 | B | 10 | Coated drain pan
YPAL3 | 101 | B | 10 | Low-speed/low sound condenser fans
YPAL3 | 102 | B | 10 | Hot water heating coil
YPAL3 | 103 | B | 10 | Steam heating coil
YPAL3 | 104 | B | 10 | Electric heaters
YPAL3 | 105 | B | 30 | High altitude gas heating kit
YPAL3 | 106 | B | 30 | LP gas conversion kit
YPAL3 | 107 | B | 30 | Perforated enclosure for condenser section
YPAL3 | 108 | B | 10 | Discharge and liquid line isolation valves
YPAL3 | 109 | B | 20 | High capacity model/coil
YPAL3 | 110 | B | 30 | 1-inch spring isolation on supply and exhaust fans
YPAL3 | 111 | B | 30 | 2-inch spring isolation on supply and exhaust fans
YPAL3 | 112 | B | 30 | 1-inch spring isolation with seismic restraints on supply and exhaust fans
YPAL3 | 113 | B | 30 | 2-inch spring isolation with seismic restraints on supply and exhaust fans
YPAL3 | 114 | B | 30 | 1-inch spring isolation on supply and return fans
YPAL3 | 115 | B | 30 | 2-inch spring isolation on supply and return fans
YPAL3 | 116 | B | 30 | 1-inch spring isolation with seismic restraints on supply and return fans
YPAL3 | 117 | B | 30 | 2-inch spring isolation with seismic restraints on supply and return fans
YPAL3 | 118 | B | 10 | Modbus communications

## NoteAsoc
Model | OwnerKey | ObjectSeq | ObjectType | ObjectKey
YPAL | BSI1NOPWR |  |  | PRTU.MODEL
YPAL | BSI1PWREXH |  |  | PRTU.EXHAUST.EFISO
YPAL | BSI1PWRRET |  |  | PRTU.EXHAUST.RFISO
YPAL | BSI1SNOPWR | 0 |  | PRTU.MODEL
YPAL | BSI1SPWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL | BSI1SPWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL | BSI2NOPWR | 0 |  | PRTU.MODEL
YPAL | BSI2PWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL | BSI2PWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL | BSI2SNOPWR | 0 |  | PRTU.MODEL
YPAL | BSI2SPWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL | BSI2SPWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL | NOSFVFD.EXHAUST | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | PRTU.PLENUM.NGCAP | 0 |  | PRTU.HEAT
YPAL | PRTU.SUPPLYFAN.ISO@NoteList | 0 |  | PRTU.SUPPLYFAN.ISO
YPAL | PRTU.SUPPLYFAN.MBYP@NoteList | 0 |  | PRTU.SUPPLYFAN.MBYP
YPAL | PRTU.SUPPLYFAN.SMTYP@NoteList | 0 |  | PRTU.SUPPLYFAN.SMTYP
YPAL | PRTU.SUPPLYFAN.VFD@NoteList | 0 |  | PRTU.SUPPLYFAN.VFD
YPAL | SFBSI1@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFBSI1S@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFBSI2@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFBSI2S@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFOH@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFOHNOPWR | 0 |  | PRTU.MODEL
YPAL | SFOHPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL | SFOHPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL | SFOS@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFOSNOPWR | 0 |  | PRTU.MODEL
YPAL | SFOSPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL | SFOSPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL | SFTH@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFTHNOPWR | 0 |  | PRTU.MODEL
YPAL | SFTHPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL | SFTHPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL | SFTS@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFTSNOPWR | 0 |  | PRTU.MODEL
YPAL | SFTSPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL | SFTSPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL | SFVFD.EXHAUST1 | 0 |  | PRTU.EXHAUST.EXHRET
YPAL | SFVFD.EXHAUST2 | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | BSI1NOPWR |  |  | PRTU.MODEL
YPAL2 | BSI1PWREXH |  |  | PRTU.EXHAUST.EFISO
YPAL2 | BSI1PWRRET |  |  | PRTU.EXHAUST.RFISO
YPAL2 | BSI1SNOPWR | 0 |  | PRTU.MODEL
YPAL2 | BSI1SPWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL2 | BSI1SPWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL2 | BSI2NOPWR | 0 |  | PRTU.MODEL
YPAL2 | BSI2PWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL2 | BSI2PWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL2 | BSI2SNOPWR | 0 |  | PRTU.MODEL
YPAL2 | BSI2SPWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL2 | BSI2SPWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL2 | NOSFVFD.EXHAUST | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | NOSFVFD.EXHAUST | 1 |  | PRTU.EXHAUST.MBYP
YPAL2 | PRTU.PLENUM.NGCAP | 0 |  | PRTU.HEAT
YPAL2 | PRTU.SUPPLYFAN.ISO@NoteList | 0 |  | PRTU.SUPPLYFAN.ISO
YPAL2 | PRTU.SUPPLYFAN.MBYP@NoteList | 0 |  | PRTU.SUPPLYFAN.MBYP
YPAL2 | PRTU.SUPPLYFAN.SMTYP@NoteList | 0 |  | PRTU.SUPPLYFAN.SMTYP
YPAL2 | PRTU.SUPPLYFAN.VFD@NoteList | 0 |  | PRTU.SUPPLYFAN.VFD
YPAL2 | SFBSI1@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFBSI1S@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFBSI2@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFBSI2S@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFOH@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFOHNOPWR | 0 |  | PRTU.MODEL
YPAL2 | SFOHPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL2 | SFOHPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL2 | SFOS@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFOSNOPWR | 0 |  | PRTU.MODEL
YPAL2 | SFOSPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL2 | SFOSPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL2 | SFTH@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFTHNOPWR | 0 |  | PRTU.MODEL
YPAL2 | SFTHPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL2 | SFTHPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL2 | SFTS@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFTSNOPWR | 0 |  | PRTU.MODEL
YPAL2 | SFTSPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL2 | SFTSPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL2 | SFVFD.EXHAUST1 | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFVFD.EXHAUST1 | 1 |  | PRTU.EXHAUST.MBYP
YPAL2 | SFVFD.EXHAUST2 | 0 |  | PRTU.EXHAUST.EXHRET
YPAL2 | SFVFD.EXHAUST2 | 1 |  | PRTU.EXHAUST.MBYP
YPAL3 | BSI1NOPWR |  |  | PRTU.MODEL
YPAL3 | BSI1PWREXH |  |  | PRTU.EXHAUST.EFISO
YPAL3 | BSI1PWRRET |  |  | PRTU.EXHAUST.RFISO
YPAL3 | BSI1SNOPWR | 0 |  | PRTU.MODEL
YPAL3 | BSI1SPWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL3 | BSI1SPWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL3 | BSI2NOPWR | 0 |  | PRTU.MODEL
YPAL3 | BSI2PWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL3 | BSI2PWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL3 | BSI2SNOPWR | 0 |  | PRTU.MODEL
YPAL3 | BSI2SPWREXH | 0 |  | PRTU.EXHAUST.EFISO
YPAL3 | BSI2SPWRRET | 0 |  | PRTU.EXHAUST.RFISO
YPAL3 | NOSFVFD.EXHAUST | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | NOSFVFD.EXHAUST | 1 |  | PRTU.SUPPLYFAN.VFDBYP
YPAL3 | PRTU.PLENUM.NGCAP | 0 |  | PRTU.HEAT
YPAL3 | PRTU.SUPPLYFAN.ISO@NoteList | 0 |  | PRTU.SUPPLYFAN.ISO
YPAL3 | PRTU.SUPPLYFAN.SMTYP@NoteList | 0 |  | PRTU.SUPPLYFAN.SMTYP
YPAL3 | PRTU.SUPPLYFAN.VFD@NoteList | 0 |  | PRTU.SUPPLYFAN.VFD
YPAL3 | SFBSI1@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFBSI1S@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFBSI2@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFBSI2S@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFOH@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFOHNOPWR | 0 |  | PRTU.MODEL
YPAL3 | SFOHPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL3 | SFOHPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL3 | SFOS@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFOSNOPWR | 0 |  | PRTU.MODEL
YPAL3 | SFOSPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL3 | SFOSPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL3 | SFTH@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFTHNOPWR | 0 |  | PRTU.MODEL
YPAL3 | SFTHPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL3 | SFTHPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL3 | SFTS@NoteList | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFTSNOPWR | 0 |  | PRTU.MODEL
YPAL3 | SFTSPWREXH | 0 |  | PRTU.EXHAUST.EMTYP
YPAL3 | SFTSPWRRET | 0 |  | PRTU.EXHAUST.RMTYP
YPAL3 | SFVFD.EXHAUST@Notelist | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SFVFD.NOPWREXH | 0 |  | PRTU.SUPPLYFAN.VFDBYP
YPAL3 | SFVFD.PWREXH1 | 0 |  | PRTU.SUPPLYFAN.VFDBYP
YPAL3 | SFVFD.PWREXHVFD | 0 |  | PRTU.SUPPLYFAN.VFDBYP
YPAL3 | SFVFD.PWRRET | 0 |  | PRTU.SUPPLYFAN.VFDBYP
YPAL3 | SUPPLYFAN.VFD | 0 |  | PRTU.EXHAUST.EXHRET
YPAL3 | SUPPLYFAN.VFD | 1 |  | PRTU.SUPPLYFAN.VFDBYP

## Notelist
Model | DataKey | DepKey | DataSeq | DataType | DataValue
YPAL | NOTELIST |  | 0 |  | PRTU.POWER.COMM
YPAL2 | NOTELIST |  | 0 |  | PRTU.POWER.COMM
YPAL3 | NOTELIST |  | 0 |  | PRTU.MODEL
YPAL | NOTELIST |  | 1 |  | PRTU.MODEL
YPAL2 | NOTELIST |  | 1 |  | PRTU.MODEL
YPAL | NOTELIST |  | 2 |  | PRTU.EXHAUST.EXH
YPAL2 | NOTELIST |  | 2 |  | PRTU.EXHAUST.EXH
YPAL3 | NOTELIST |  | 2 |  | PRTU.COILOPT
YPAL | NOTELIST |  | 3 |  | PRTU.EXHAUST.FR
YPAL2 | NOTELIST |  | 3 |  | PRTU.EXHAUST.FR
YPAL3 | NOTELIST |  | 3 |  | PRTU.EXHAUST.EXHRET
YPAL | NOTELIST |  | 4 |  | PRTU.SUPPLYFAN.FS
YPAL2 | NOTELIST |  | 4 |  | PRTU.SUPPLYFAN.FS
YPAL | NOTELIST |  | 10 | A | PRTU.SUPPLYFAN.VFD
YPAL2 | NOTELIST |  | 10 | A | PRTU.SUPPLYFAN.VFD
YPAL3 | NOTELIST |  | 10 | A | PRTU.SUPPLYFAN.VFD
YPAL3 | NOTELIST |  | 11 |  | PRTU.SUPPLYFAN.VFD
YPAL3 | NOTELIST |  | 12 |  | PRTU.SUPPLYFAN.FS
YPAL | NOTELIST |  | 15 |  | PRTU.POWER.WIRE
YPAL2 | NOTELIST |  | 15 |  | PRTU.POWER.WIRE
YPAL3 | NOTELIST |  | 15 |  | PRTU.POWER.WIRE
YPAL | NOTELIST |  | 16 |  | PRTU.PLENUM.DIS
YPAL2 | NOTELIST |  | 16 |  | PRTU.PLENUM.DIS
YPAL3 | NOTELIST |  | 16 |  | PRTU.PLENUM.DIS
YPAL | NOTELIST |  | 17 |  | PRTU.EXHAUST.RA
YPAL2 | NOTELIST |  | 17 |  | PRTU.EXHAUST.RA
YPAL3 | NOTELIST |  | 17 |  | PRTU.EXHAUST.RA
YPAL | NOTELIST |  | 18 | A | PRTU.SUPPLYFAN.SMTYP
YPAL3 | NOTELIST |  | 18 | A | PRTU.SUPPLYFAN.SMTYP
YPAL | NOTELIST |  | 19 |  | PRTU.CONDENSER.LA
YPAL2 | NOTELIST |  | 19 | A | PRTU.SUPPLYFAN.SMTYP
YPAL3 | NOTELIST |  | 19 |  | PRTU.CONDENSER.LA
YPAL | NOTELIST |  | 20 |  | PRTU.ECON.DMP
YPAL2 | NOTELIST |  | 20 |  | PRTU.ECON.DMP
YPAL3 | NOTELIST |  | 20 |  | PRTU.ECON.DMP
YPAL | NOTELIST |  | 21 |  | PRTU.ECON.EECTL
YPAL2 | NOTELIST |  | 21 |  | PRTU.ECON.EECTL
YPAL3 | NOTELIST |  | 21 |  | PRTU.ECON.EECTL
YPAL | NOTELIST |  | 22 |  | PRTU.ECON.IAQ
YPAL2 | NOTELIST |  | 22 |  | PRTU.ECON.IAQ
YPAL3 | NOTELIST |  | 22 |  | PRTU.ECON.IAQ
YPAL3 | NOTELIST |  | 23 |  | PRTU.HEAT
YPAL | NOTELIST |  | 25 |  | PRTU.PLENUM.NGCAP
YPAL2 | NOTELIST |  | 25 |  | PRTU.PLENUM.NGCAP
YPAL3 | NOTELIST |  | 25 |  | PRTU.PLENUM.NGCAP
YPAL3 | NOTELIST |  | 26 |  | PRTU.PLENUM.HIALT
YPAL3 | NOTELIST |  | 27 |  | PRTU.PLENUM.NGLP
YPAL | NOTELIST |  | 29 |  | PRTU.REFRIG
YPAL2 | NOTELIST |  | 29 |  | PRTU.REFRIG
YPAL | NOTELIST |  | 30 |  | PRTU.CONDENSER.VLVS
YPAL2 | NOTELIST |  | 30 |  | PRTU.CONDENSER.VLVS
YPAL3 | NOTELIST |  | 30 |  | PRTU.CONDENSER.VLVS
YPAL | NOTELIST |  | 35 |  | PRTU.POWER.CTLACC
YPAL2 | NOTELIST |  | 35 |  | PRTU.POWER.CTLACC
YPAL3 | NOTELIST |  | 35 |  | PRTU.POWER.CTLACC
YPAL | NOTELIST |  | 36 |  | PRTU.POWER.CONV
YPAL2 | NOTELIST |  | 36 |  | PRTU.POWER.CONV
YPAL3 | NOTELIST |  | 36 |  | PRTU.POWER.CONV
YPAL3 | NOTELIST |  | 37 |  | PRTU.POWER.COMM
YPAL | NOTELIST |  | 38 | A | PRTU.SUPPLYFAN.ISO
YPAL2 | NOTELIST |  | 38 | A | PRTU.SUPPLYFAN.ISO
YPAL3 | NOTELIST |  | 38 |  | PRTU.POWER.UNITCTL
YPAL3 | NOTELIST |  | 38 | A | PRTU.SUPPLYFAN.ISO
YPAL | NOTELIST |  | 40 |  | PRTU.CONDENSER.COND
YPAL2 | NOTELIST |  | 40 |  | PRTU.CONDENSER.COND
YPAL3 | NOTELIST |  | 40 |  | PRTU.CONDENSER.COND
YPAL | NOTELIST |  | 41 |  | PRTU.CONDENSER.CCOAT
YPAL2 | NOTELIST |  | 41 |  | PRTU.CONDENSER.CCOAT
YPAL3 | NOTELIST |  | 41 |  | PRTU.CONDENSER.CCOAT
YPAL | NOTELIST |  | 42 |  | PRTU.CONDENSER.GUARD
YPAL2 | NOTELIST |  | 42 |  | PRTU.CONDENSER.GUARD
YPAL3 | NOTELIST |  | 42 |  | PRTU.CONDENSER.GUARD
YPAL | NOTELIST |  | 43 |  | PRTU.CONDENSER.COMPRACC
YPAL2 | NOTELIST |  | 43 |  | PRTU.CONDENSER.COMPRACC
YPAL3 | NOTELIST |  | 43 |  | PRTU.CONDENSER.COMPRACC
YPAL | NOTELIST |  | 44 |  | PRTU.CONDENSER.PIPE
YPAL2 | NOTELIST |  | 44 |  | PRTU.CONDENSER.PIPE
YPAL3 | NOTELIST |  | 44 |  | PRTU.CONDENSER.PIPE
YPAL | NOTELIST |  | 45 |  | PRTU.CONDENSER.VLVS
YPAL2 | NOTELIST |  | 45 |  | PRTU.CONDENSER.VLVS
YPAL3 | NOTELIST |  | 45 |  | PRTU.CONDENSER.VLVS
YPAL3 | NOTELIST |  | 46 |  | PRTU.CONDENSER.DRIER
YPAL3 | NOTELIST |  | 47 |  | PRTU.CONDENSER.CFAN
YPAL | NOTELIST |  | 50 |  | PRTU.EVAPORATOR.EVAP
YPAL2 | NOTELIST |  | 50 |  | PRTU.EVAPORATOR.EVAP
YPAL3 | NOTELIST |  | 50 |  | PRTU.EVAPORATOR.EVAP
YPAL3 | NOTELIST |  | 51 |  | PRTU.EVAPORATOR.DRAIN
YPAL | NOTELIST |  | 55 |  | PRTU.CABINET.FINALFLT
YPAL2 | NOTELIST |  | 55 |  | PRTU.CABINET.FINALFLT
YPAL3 | NOTELIST |  | 55 |  | PRTU.CABINET.FINALFLT
YPAL3 | NOTELIST |  | 56 |  | PRTU.CABINET.WALLS
YPAL3 | NOTELIST |  | 57 |  | PRTU.CABINET.DIFFUSER
YPAL | NOTELIST |  | 60 |  | PRTU.FILTER.FILT
YPAL2 | NOTELIST |  | 60 |  | PRTU.FILTER.FILT
YPAL3 | NOTELIST |  | 60 |  | PRTU.FILTER.FILT
YPAL | NOTELIST |  | 65 |  | PRTU.WARR
YPAL2 | NOTELIST |  | 65 |  | PRTU.WARR
YPAL3 | NOTELIST |  | 65 |  | PRTU.WARR
YPAL | NOTELIST |  | 66 |  | PRTU.WARRA
YPAL2 | NOTELIST |  | 66 |  | PRTU.WARRA
YPAL3 | NOTELIST |  | 66 |  | PRTU.WARRA
YPAL | NOTELIST |  | 67 |  | PRTU.WARRCOMPR
YPAL2 | NOTELIST |  | 67 |  | PRTU.WARRCOMPR
YPAL3 | NOTELIST |  | 67 |  | PRTU.WARRCOMPR
YPAL | NOTELIST |  | 70 |  | PRTU.ROOFCURB.CURB
YPAL2 | NOTELIST |  | 70 |  | PRTU.ROOFCURB.CURB
YPAL3 | NOTELIST |  | 70 |  | PRTU.ROOFCURB.CURB
YPAL | PRTU.SUPPLYFAN.ISO | BSI1 | 0 | A | SFBSI1
YPAL | PRTU.SUPPLYFAN.ISO | BSI1S | 0 | A | SFBSI1S
YPAL | PRTU.SUPPLYFAN.ISO | BSI2 | 0 | A | SFBSI2
YPAL | PRTU.SUPPLYFAN.ISO | BSI2S | 0 | A | SFBSI2S
YPAL2 | PRTU.SUPPLYFAN.ISO | BSI1 | 0 | A | SFBSI1
YPAL2 | PRTU.SUPPLYFAN.ISO | BSI1S | 0 | A | SFBSI1S
YPAL2 | PRTU.SUPPLYFAN.ISO | BSI2 | 0 | A | SFBSI2
YPAL2 | PRTU.SUPPLYFAN.ISO | BSI2S | 0 | A | SFBSI2S
YPAL3 | PRTU.SUPPLYFAN.ISO | BSI1 | 0 | A | SFBSI1
YPAL3 | PRTU.SUPPLYFAN.ISO | BSI1S | 0 | A | SFBSI1S
YPAL3 | PRTU.SUPPLYFAN.ISO | BSI2 | 0 | A | SFBSI2
YPAL3 | PRTU.SUPPLYFAN.ISO | BSI2S | 0 | A | SFBSI2S
YPAL | PRTU.SUPPLYFAN.MBYP | BYP | 0 |  | SFVFD.EXHAUST2
YPAL | PRTU.SUPPLYFAN.MBYP | NA | 0 |  | SFVFD.EXHAUST1
YPAL2 | PRTU.SUPPLYFAN.MBYP | BYP | 0 |  | SFVFD.EXHAUST2
YPAL2 | PRTU.SUPPLYFAN.MBYP | NA | 0 |  | SFVFD.EXHAUST1
YPAL | PRTU.SUPPLYFAN.SMTYP | OH | 0 | A | SFOH
YPAL | PRTU.SUPPLYFAN.SMTYP | OS | 0 | A | SFOS
YPAL | PRTU.SUPPLYFAN.SMTYP | TH | 0 | A | SFTH
YPAL | PRTU.SUPPLYFAN.SMTYP | TS | 0 | A | SFTS
YPAL2 | PRTU.SUPPLYFAN.SMTYP | OH | 0 | A | SFOH
YPAL2 | PRTU.SUPPLYFAN.SMTYP | OS | 0 | A | SFOS
YPAL2 | PRTU.SUPPLYFAN.SMTYP | TH | 0 | A | SFTH
YPAL2 | PRTU.SUPPLYFAN.SMTYP | TS | 0 | A | SFTS
YPAL3 | PRTU.SUPPLYFAN.SMTYP | OH | 0 | A | SFOH
YPAL3 | PRTU.SUPPLYFAN.SMTYP | OS | 0 | A | SFOS
YPAL3 | PRTU.SUPPLYFAN.SMTYP | TH | 0 | A | SFTH
YPAL3 | PRTU.SUPPLYFAN.SMTYP | TS | 0 | A | SFTS
YPAL | PRTU.SUPPLYFAN.VFD | CV | 0 |  | NOSFVFD.EXHAUST
YPAL | PRTU.SUPPLYFAN.VFD | VAV | 0 | A | PRTU.SUPPLYFAN.MBYP
YPAL2 | PRTU.SUPPLYFAN.VFD | CV | 0 |  | NOSFVFD.EXHAUST
YPAL2 | PRTU.SUPPLYFAN.VFD | VAV | 0 | A | PRTU.SUPPLYFAN.MBYP
YPAL3 | PRTU.SUPPLYFAN.VFD | CV | 0 |  | NOSFVFD.EXHAUST
YPAL3 | PRTU.SUPPLYFAN.VFD | VAV | 0 | A | SFVFD.EXHAUST
YPAL | SFBSI1 | 2P1 | 0 |  | BSI1PWREXH
YPAL | SFBSI1 | 2P2 | 0 |  | BSI1PWREXH
YPAL | SFBSI1 | BRF | 0 |  | BSI1NOPWR
YPAL | SFBSI1 | EVFD | 0 |  | BSI1PWREXH
YPAL | SFBSI1 | MD | 0 |  | BSI1PWREXH
YPAL | SFBSI1 | NA | 0 |  | BSI1NOPWR
YPAL | SFBSI1 | RET1 | 0 |  | BSI1PWRRET
YPAL | SFBSI1 | RET2 | 0 |  | BSI1PWRRET
YPAL2 | SFBSI1 | 2P1 | 0 |  | BSI1PWREXH
YPAL2 | SFBSI1 | 2P2 | 0 |  | BSI1PWREXH
YPAL2 | SFBSI1 | BRF | 0 |  | BSI1NOPWR
YPAL2 | SFBSI1 | EVFD | 0 |  | BSI1PWREXH
YPAL2 | SFBSI1 | MD | 0 |  | BSI1PWREXH
YPAL2 | SFBSI1 | NA | 0 |  | BSI1NOPWR
YPAL2 | SFBSI1 | RET1 | 0 |  | BSI1PWRRET
YPAL2 | SFBSI1 | RET2 | 0 |  | BSI1PWRRET
YPAL3 | SFBSI1 | 2P1 | 0 |  | BSI1PWREXH
YPAL3 | SFBSI1 | 2P2 | 0 |  | BSI1PWREXH
YPAL3 | SFBSI1 | BRF | 0 |  | BSI1NOPWR
YPAL3 | SFBSI1 | EVFD | 0 |  | BSI1PWREXH
YPAL3 | SFBSI1 | MD | 0 |  | BSI1PWREXH
YPAL3 | SFBSI1 | NA | 0 |  | BSI1NOPWR
YPAL3 | SFBSI1 | RET1 | 0 |  | BSI1PWRRET
YPAL3 | SFBSI1 | RET2 | 0 |  | BSI1PWRRET
YPAL | SFBSI1S | 2P1 | 0 |  | BSI1SPWREXH
YPAL | SFBSI1S | 2P2 | 0 |  | BSI1SPWREXH
YPAL | SFBSI1S | BRF | 0 |  | BSI1SNOPWR
YPAL | SFBSI1S | EVFD | 0 |  | BSI1SPWREXH
YPAL | SFBSI1S | MD | 0 |  | BSI1SPWREXH
YPAL | SFBSI1S | NA | 0 |  | BSI1SNOPWR
YPAL | SFBSI1S | RET1 | 0 |  | BSI1SPWRRET
YPAL | SFBSI1S | RET2 | 0 |  | BSI1SPWRRET
YPAL2 | SFBSI1S | 2P1 | 0 |  | BSI1SPWREXH
YPAL2 | SFBSI1S | 2P2 | 0 |  | BSI1SPWREXH
YPAL2 | SFBSI1S | BRF | 0 |  | BSI1SNOPWR
YPAL2 | SFBSI1S | EVFD | 0 |  | BSI1SPWREXH
YPAL2 | SFBSI1S | MD | 0 |  | BSI1SPWREXH
YPAL2 | SFBSI1S | NA | 0 |  | BSI1SNOPWR
YPAL2 | SFBSI1S | RET1 | 0 |  | BSI1SPWRRET
YPAL2 | SFBSI1S | RET2 | 0 |  | BSI1SPWRRET
YPAL3 | SFBSI1S | 2P1 | 0 |  | BSI1SPWREXH
YPAL3 | SFBSI1S | 2P2 | 0 |  | BSI1SPWREXH
YPAL3 | SFBSI1S | BRF | 0 |  | BSI1SNOPWR
YPAL3 | SFBSI1S | EVFD | 0 |  | BSI1SPWREXH
YPAL3 | SFBSI1S | MD | 0 |  | BSI1SPWREXH
YPAL3 | SFBSI1S | NA | 0 |  | BSI1SNOPWR
YPAL3 | SFBSI1S | RET1 | 0 |  | BSI1SPWRRET
YPAL3 | SFBSI1S | RET2 | 0 |  | BSI1SPWRRET
YPAL | SFBSI2 | 2P1 | 0 |  | BSI2PWREXH
YPAL | SFBSI2 | 2P2 | 0 |  | BSI2PWREXH
YPAL | SFBSI2 | BRF | 0 |  | BSI2NOPWR
YPAL | SFBSI2 | EVFD | 0 |  | BSI2PWREXH
YPAL | SFBSI2 | MD | 0 |  | BSI2PWREXH
YPAL | SFBSI2 | NA | 0 |  | BSI2NOPWR
YPAL | SFBSI2 | RET1 | 0 |  | BSI2PWRRET
YPAL | SFBSI2 | RET2 | 0 |  | BSI2PWRRET
YPAL2 | SFBSI2 | 2P1 | 0 |  | BSI2PWREXH
YPAL2 | SFBSI2 | 2P2 | 0 |  | BSI2PWREXH
YPAL2 | SFBSI2 | BRF | 0 |  | BSI2NOPWR
YPAL2 | SFBSI2 | EVFD | 0 |  | BSI2PWREXH
YPAL2 | SFBSI2 | MD | 0 |  | BSI2PWREXH
YPAL2 | SFBSI2 | NA | 0 |  | BSI2NOPWR
YPAL2 | SFBSI2 | RET1 | 0 |  | BSI2PWRRET
YPAL2 | SFBSI2 | RET2 | 0 |  | BSI2PWRRET
YPAL3 | SFBSI2 | 2P1 | 0 |  | BSI2PWREXH
YPAL3 | SFBSI2 | 2P2 | 0 |  | BSI2PWREXH
YPAL3 | SFBSI2 | BRF | 0 |  | BSI2NOPWR
YPAL3 | SFBSI2 | EVFD | 0 |  | BSI2PWREXH
YPAL3 | SFBSI2 | MD | 0 |  | BSI2PWREXH
YPAL3 | SFBSI2 | NA | 0 |  | BSI2NOPWR
YPAL3 | SFBSI2 | RET1 | 0 |  | BSI2PWRRET
YPAL3 | SFBSI2 | RET2 | 0 |  | BSI2PWRRET
YPAL | SFBSI2S | 2P1 | 0 |  | BSI2SPWREXH
YPAL | SFBSI2S | 2P2 | 0 |  | BSI2SPWREXH
YPAL | SFBSI2S | BRF | 0 |  | BSI2SNOPWR
YPAL | SFBSI2S | EVFD | 0 |  | BSI2SPWREXH
YPAL | SFBSI2S | MD | 0 |  | BSI2SPWREXH
YPAL | SFBSI2S | NA | 0 |  | BSI2SNOPWR
YPAL | SFBSI2S | RET1 | 0 |  | BSI2SPWRRET
YPAL | SFBSI2S | RET2 | 0 |  | BSI2SPWRRET
YPAL2 | SFBSI2S | 2P1 | 0 |  | BSI2SPWREXH
YPAL2 | SFBSI2S | 2P2 | 0 |  | BSI2SPWREXH
YPAL2 | SFBSI2S | BRF | 0 |  | BSI2SNOPWR
YPAL2 | SFBSI2S | EVFD | 0 |  | BSI2SPWREXH
YPAL2 | SFBSI2S | MD | 0 |  | BSI2SPWREXH
YPAL2 | SFBSI2S | NA | 0 |  | BSI2SNOPWR
YPAL2 | SFBSI2S | RET1 | 0 |  | BSI2SPWRRET
YPAL2 | SFBSI2S | RET2 | 0 |  | BSI2SPWRRET
YPAL3 | SFBSI2S | 2P1 | 0 |  | BSI2SPWREXH
YPAL3 | SFBSI2S | 2P2 | 0 |  | BSI2SPWREXH
YPAL3 | SFBSI2S | BRF | 0 |  | BSI2SNOPWR
YPAL3 | SFBSI2S | EVFD | 0 |  | BSI2SPWREXH
YPAL3 | SFBSI2S | MD | 0 |  | BSI2SPWREXH
YPAL3 | SFBSI2S | NA | 0 |  | BSI2SNOPWR
YPAL3 | SFBSI2S | RET1 | 0 |  | BSI2SPWRRET
YPAL3 | SFBSI2S | RET2 | 0 |  | BSI2SPWRRET
YPAL | SFOH | 2P1 | 0 |  | SFOHPWREXH
YPAL | SFOH | 2P2 | 0 |  | SFOHPWREXH
YPAL | SFOH | BRF | 0 |  | SFOHNOPWR
YPAL | SFOH | EVFD | 0 |  | SFOHPWREXH
YPAL | SFOH | MD | 0 |  | SFOHPWREXH
YPAL | SFOH | NA | 0 |  | SFOHNOPWR
YPAL | SFOH | RET1 | 0 |  | SFOHPWRRET
YPAL | SFOH | RET2 | 0 |  | SFOHPWRRET
YPAL2 | SFOH | 2P1 | 0 |  | SFOHPWREXH
YPAL2 | SFOH | 2P2 | 0 |  | SFOHPWREXH
YPAL2 | SFOH | BRF | 0 |  | SFOHNOPWR
YPAL2 | SFOH | EVFD | 0 |  | SFOHPWREXH
YPAL2 | SFOH | MD | 0 |  | SFOHPWREXH
YPAL2 | SFOH | NA | 0 |  | SFOHNOPWR
YPAL2 | SFOH | RET1 | 0 |  | SFOHPWRRET
YPAL2 | SFOH | RET2 | 0 |  | SFOHPWRRET
YPAL3 | SFOH | 2P1 | 0 |  | SFOHPWREXH
YPAL3 | SFOH | 2P2 | 0 |  | SFOHPWREXH
YPAL3 | SFOH | BRF | 0 |  | SFOHNOPWR
YPAL3 | SFOH | EVFD | 0 |  | SFOHPWREXH
YPAL3 | SFOH | MD | 0 |  | SFOHPWREXH
YPAL3 | SFOH | NA | 0 |  | SFOHNOPWR
YPAL3 | SFOH | RET1 | 0 |  | SFOHPWRRET
YPAL3 | SFOH | RET2 | 0 |  | SFOHPWRRET
YPAL | SFOS | 2P1 | 0 |  | SFOSPWREXH
YPAL | SFOS | 2P2 | 0 |  | SFOSPWREXH
YPAL | SFOS | BRF | 0 |  | SFOSNOPWR
YPAL | SFOS | EVFD | 0 |  | SFOSPWREXH
YPAL | SFOS | MD | 0 |  | SFOSPWREXH
YPAL | SFOS | NA | 0 |  | SFOSNOPWR
YPAL | SFOS | RET1 | 0 |  | SFOSPWRRET
YPAL | SFOS | RET2 | 0 |  | SFOSPWRRET
YPAL2 | SFOS | 2P1 | 0 |  | SFOSPWREXH
YPAL2 | SFOS | 2P2 | 0 |  | SFOSPWREXH
YPAL2 | SFOS | BRF | 0 |  | SFOSNOPWR
YPAL2 | SFOS | EVFD | 0 |  | SFOSPWREXH
YPAL2 | SFOS | MD | 0 |  | SFOSPWREXH
YPAL2 | SFOS | NA | 0 |  | SFOSNOPWR
YPAL2 | SFOS | RET1 | 0 |  | SFOSPWRRET
YPAL2 | SFOS | RET2 | 0 |  | SFOSPWRRET
YPAL3 | SFOS | 2P1 | 0 |  | SFOSPWREXH
YPAL3 | SFOS | 2P2 | 0 |  | SFOSPWREXH
YPAL3 | SFOS | BRF | 0 |  | SFOSNOPWR
YPAL3 | SFOS | EVFD | 0 |  | SFOSPWREXH
YPAL3 | SFOS | MD | 0 |  | SFOSPWREXH
YPAL3 | SFOS | NA | 0 |  | SFOSNOPWR
YPAL3 | SFOS | RET1 | 0 |  | SFOSPWRRET
YPAL3 | SFOS | RET2 | 0 |  | SFOSPWRRET
YPAL | SFTH | 2P1 | 0 |  | SFTHPWREXH
YPAL | SFTH | 2P2 | 0 |  | SFTHPWREXH
YPAL | SFTH | BRF | 0 |  | SFTHNOPWR
YPAL | SFTH | EVFD | 0 |  | SFTHPWREXH
YPAL | SFTH | MD | 0 |  | SFTHPWREXH
YPAL | SFTH | NA | 0 |  | SFTHNOPWR
YPAL | SFTH | RET1 | 0 |  | SFTHPWRRET
YPAL | SFTH | RET2 | 0 |  | SFTHPWRRET
YPAL2 | SFTH | 2P1 | 0 |  | SFTHPWREXH
YPAL2 | SFTH | 2P2 | 0 |  | SFTHPWREXH
YPAL2 | SFTH | BRF | 0 |  | SFTHNOPWR
YPAL2 | SFTH | EVFD | 0 |  | SFTHPWREXH
YPAL2 | SFTH | MD | 0 |  | SFTHPWREXH
YPAL2 | SFTH | NA | 0 |  | SFTHNOPWR
YPAL2 | SFTH | RET1 | 0 |  | SFTHPWRRET
YPAL2 | SFTH | RET2 | 0 |  | SFTHPWRRET
YPAL3 | SFTH | 2P1 | 0 |  | SFTHPWREXH
YPAL3 | SFTH | 2P2 | 0 |  | SFTHPWREXH
YPAL3 | SFTH | BRF | 0 |  | SFTHNOPWR
YPAL3 | SFTH | EVFD | 0 |  | SFTHPWREXH
YPAL3 | SFTH | MD | 0 |  | SFTHPWREXH
YPAL3 | SFTH | NA | 0 |  | SFTHNOPWR
YPAL3 | SFTH | RET1 | 0 |  | SFTHPWRRET
YPAL3 | SFTH | RET2 | 0 |  | SFTHPWRRET
YPAL | SFTS | 2P1 | 0 |  | SFTSPWREXH
YPAL | SFTS | 2P2 | 0 |  | SFTSPWREXH
YPAL | SFTS | BRF | 0 |  | SFTSNOPWR
YPAL | SFTS | EVFD | 0 |  | SFTSPWREXH
YPAL | SFTS | MD | 0 |  | SFTSPWREXH
YPAL | SFTS | NA | 0 |  | SFTSNOPWR
YPAL | SFTS | RET1 | 0 |  | SFTSPWRRET
YPAL | SFTS | RET2 | 0 |  | SFTSPWRRET
YPAL2 | SFTS | 2P1 | 0 |  | SFTSPWREXH
YPAL2 | SFTS | 2P2 | 0 |  | SFTSPWREXH
YPAL2 | SFTS | BRF | 0 |  | SFTSNOPWR
YPAL2 | SFTS | EVFD | 0 |  | SFTSPWREXH
YPAL2 | SFTS | MD | 0 |  | SFTSPWREXH
YPAL2 | SFTS | NA | 0 |  | SFTSNOPWR
YPAL2 | SFTS | RET1 | 0 |  | SFTSPWRRET
YPAL2 | SFTS | RET2 | 0 |  | SFTSPWRRET
YPAL3 | SFTS | 2P1 | 0 |  | SFTSPWREXH
YPAL3 | SFTS | 2P2 | 0 |  | SFTSPWREXH
YPAL3 | SFTS | BRF | 0 |  | SFTSNOPWR
YPAL3 | SFTS | EVFD | 0 |  | SFTSPWREXH
YPAL3 | SFTS | MD | 0 |  | SFTSPWREXH
YPAL3 | SFTS | NA | 0 |  | SFTSNOPWR
YPAL3 | SFTS | RET1 | 0 |  | SFTSPWRRET
YPAL3 | SFTS | RET2 | 0 |  | SFTSPWRRET
YPAL3 | SFVFD.EXHAUST | 2P1 | 0 |  | SFVFD.PWREXH1
YPAL3 | SFVFD.EXHAUST | 2P2 | 0 |  | SFVFD.PWREXH1
YPAL3 | SFVFD.EXHAUST | BRF | 0 |  | SFVFD.NOPWREXH
YPAL3 | SFVFD.EXHAUST | EVFD | 0 |  | SFVFD.PWREXHVFD
YPAL3 | SFVFD.EXHAUST | MD | 0 |  | SFVFD.PWREXH1
YPAL3 | SFVFD.EXHAUST | NA | 0 |  | SFVFD.NOPWREXH
YPAL3 | SFVFD.EXHAUST | RET1 | 0 |  | SFVFD.PWRRET
YPAL3 | SFVFD.EXHAUST | RET2 | 0 |  | SFVFD.PWRRET

## Notesche
Model | NoteKey | DepKey | OptKey | Sequence | NoteId
YPAL | BSI1NOPWR | YPAL |  | 0 | 74
YPAL | BSI1PWREXH | EFI1 |  | 0 | 74
YPAL | BSI1PWREXH | EFIR |  | 0 | 73
YPAL | BSI1PWRRET | RFI1 |  | 0 | 74
YPAL | BSI1SNOPWR | YPAL |  | 0 | 53
YPAL | BSI1SPWREXH | EFI1S |  | 0 | 53
YPAL | BSI1SPWREXH | EFIR |  | 0 | 73
YPAL | BSI1SPWRRET | RFI1S |  | 0 | 53
YPAL | BSI2NOPWR | YPAL |  | 0 | 75
YPAL | BSI2PWREXH | EFI2 |  | 0 | 75
YPAL | BSI2PWREXH | EFIR |  | 0 | 73
YPAL | BSI2PWRRET | RFI2 |  | 0 | 75
YPAL | BSI2SNOPWR | YPAL |  | 0 | 54
YPAL | BSI2SPWREXH | EFI2S |  | 0 | 54
YPAL | BSI2SPWREXH | EFIR |  | 0 | 73
YPAL | BSI2SPWRRET | RFI2S |  | 0 | 54
YPAL | NOSFVFD.EXHAUST | EVFD |  | 0 | 9
YPAL | PRTU.CABINET.FINALFLT |  | FLT | 0 | 63
YPAL | PRTU.CABINET.FINALFLT |  | FLT | 1 | 64
YPAL | PRTU.CABINET.FINALFLT |  | FLT | 2 | 65
YPAL | PRTU.CABINET.FINALFLT |  | FLTSM | 0 | 63
YPAL | PRTU.CABINET.FINALFLT |  | FLTSM | 1 | 64
YPAL | PRTU.CABINET.FINALFLT |  | FLTSM | 2 | 65
YPAL | PRTU.CONDENSER.CCOAT |  | POS | 0 | 57
YPAL | PRTU.CONDENSER.CCOAT |  | PRE | 0 | 56
YPAL | PRTU.CONDENSER.COMRACC |  | BLNK | 0 | 61
YPAL | PRTU.CONDENSER.COND |  | CU | 0 | 55
YPAL | PRTU.CONDENSER.GUARD |  | GRD | 0 | 59
YPAL | PRTU.CONDENSER.GUARD |  | PNL | 0 | 60
YPAL | PRTU.CONDENSER.LA |  | LAO1 | 0 | 22
YPAL | PRTU.CONDENSER.LA |  | LAO2 | 0 | 23
YPAL | PRTU.CONDENSER.LA |  | LAO3 | 0 | 24
YPAL | PRTU.CONDENSER.PIPE |  | HGB | 0 | 76
YPAL | PRTU.CONDENSER.VLVS |  | VLV | 0 | 79
YPAL | PRTU.ECON.DMP |  | 2POS | 0 | 38
YPAL | PRTU.ECON.DMP |  | 2POS | 1 | 62
YPAL | PRTU.ECON.DMP |  | ACT | 0 | 34
YPAL | PRTU.ECON.DMP |  | ACT | 1 | 62
YPAL | PRTU.ECON.DMP |  | FIAQ | 0 | 35
YPAL | PRTU.ECON.DMP |  | FIAQ | 1 | 62
YPAL | PRTU.ECON.DMP |  | MAN | 0 | 62
YPAL | PRTU.ECON.DMP |  | MIAQ | 0 | 37
YPAL | PRTU.ECON.DMP |  | MIAQ | 1 | 62
YPAL | PRTU.ECON.EECTL |  | DUAL | 0 | 40
YPAL | PRTU.ECON.EECTL |  | SGL | 0 | 39
YPAL | PRTU.ECON.IAQ |  | CO2 | 0 | 72
YPAL | PRTU.EVAPORATOR.EVAP |  | CU | 0 | 58
YPAL | PRTU.EXHAUST.EXH |  | 2P1 | 0 | 6
YPAL | PRTU.EXHAUST.EXH |  | 2P2 | 0 | 6
YPAL | PRTU.EXHAUST.EXH |  | EVFD | 0 | 6
YPAL | PRTU.EXHAUST.EXH |  | MD | 0 | 6
YPAL | PRTU.EXHAUST.EXH |  | MD | 1 | 81
YPAL | PRTU.EXHAUST.FR |  | RF | 0 | 5
YPAL | PRTU.EXHAUST.RA |  | BR | 0 | 32
YPAL | PRTU.EXHAUST.RA |  | RR | 0 | 30
YPAL | PRTU.EXHAUST.RA |  | SRL | 0 | 30
YPAL | PRTU.EXHAUST.RA |  | SRR | 0 | 30
YPAL | PRTU.FILTER.FILT |  | ANG1 | 0 | 66
YPAL | PRTU.FILTER.FILT |  | ANG2 | 0 | 67
YPAL | PRTU.FILTER.FILT |  | ANG3 | 0 | 68
YPAL | PRTU.FILTER.FILT |  | ANG4 | 0 | 69
YPAL | PRTU.FILTER.FILT |  | F65 | 0 | 70
YPAL | PRTU.FILTER.FILT |  | F95 | 0 | 71
YPAL | PRTU.MODEL |  | YPAL | 0 | 1
YPAL | PRTU.MODEL |  | YPAL | 1 | 2
YPAL | PRTU.MODEL |  | YPAL | 2 | 3
YPAL | PRTU.MODEL |  | YPAL | 3 | 4
YPAL | PRTU.MODEL |  | YPAL | 5 | 25
YPAL | PRTU.MODEL |  | YPAL | 6 | 33
YPAL | PRTU.MODEL |  | YPAL | 7 | 48
YPAL | PRTU.MODEL |  | YPAL | 8 | 50
YPAL | PRTU.MODEL |  | YPAL | 9 | 80
YPAL | PRTU.PLENUM.DIS |  | B | 0 | 31
YPAL | PRTU.PLENUM.DIS |  | L | 0 | 29
YPAL | PRTU.PLENUM.DIS |  | R | 0 | 29
YPAL | PRTU.PLENUM.NGCAP | MG | NG1125 | 0 | 43
YPAL | PRTU.PLENUM.NGCAP | MG | NG375 | 0 | 41
YPAL | PRTU.PLENUM.NGCAP | MG | NG750 | 0 | 42
YPAL | PRTU.PLENUM.NGCAP | MGSS | NG1125 | 0 | 43
YPAL | PRTU.PLENUM.NGCAP | MGSS | NG375 | 0 | 41
YPAL | PRTU.PLENUM.NGCAP | MGSS | NG750 | 0 | 42
YPAL | PRTU.PLENUM.NGCAP | NG | NG1125 | 0 | 46
YPAL | PRTU.PLENUM.NGCAP | NG | NG375 | 0 | 44
YPAL | PRTU.PLENUM.NGCAP | NG | NG750 | 0 | 45
YPAL | PRTU.PLENUM.NGCAP | NGSS | NG1125 | 0 | 46
YPAL | PRTU.PLENUM.NGCAP | NGSS | NG375 | 0 | 44
YPAL | PRTU.PLENUM.NGCAP | NGSS | NG750 | 0 | 45
YPAL | PRTU.POWER.CONV |  | OUTL | 0 | 78
YPAL | PRTU.POWER.CTLACC |  | TSTAT | 0 | 51
YPAL | PRTU.POWER.CTLACC |  | ZONE1 | 0 | 52
YPAL | PRTU.POWER.CTLACC |  | ZONE2 | 0 | 52
YPAL | PRTU.POWER.CTLACC |  | ZONE3 | 0 | 52
YPAL | PRTU.POWER.CTLACC |  | ZONE4 | 0 | 52
YPAL | PRTU.POWER.WIRE |  | DPT | 0 | 28
YPAL | PRTU.POWER.WIRE |  | SPD | 0 | 26
YPAL | PRTU.POWER.WIRE |  | SPT | 0 | 27
YPAL | PRTU.REFRIG |  | R407C | 0 | 47
YPAL | PRTU.REFRIG |  | R410A | 0 | 47
YPAL | PRTU.ROOFCURB.CURB |  | RCO1 | 0 | 95
YPAL | PRTU.ROOFCURB.CURB |  | RCO2 | 0 | 96
YPAL | PRTU.SUPPLYFAN.FS |  | AF1 | 0 | 7
YPAL | PRTU.SUPPLYFAN.FS |  | AF2 | 0 | 7
YPAL | PRTU.WARR |  | WARR1YR | 0 | 83
YPAL | PRTU.WARRA |  | WA2YR | 0 | 85
YPAL | PRTU.WARRA |  | WA2YRPA | 0 | 84
YPAL | PRTU.WARRA |  | WA5YR | 0 | 89
YPAL | PRTU.WARRA |  | WA5YRPA | 0 | 88
YPAL | PRTU.WARRCOMPR |  | WARRCOMPR5YR | 0 | 87
YPAL | PRTU.WARRCOMPR |  | WARRCOMPR5YRPARTS | 0 | 86
YPAL | SFOHNOPWR | YPAL |  | 0 | 19
YPAL | SFOHPWREXH | OH |  | 0 | 19
YPAL | SFOHPWRRET | OH |  | 0 | 19
YPAL | SFOSNOPWR | YPAL |  | 0 | 18
YPAL | SFOSPWREXH | OS |  | 0 | 18
YPAL | SFOSPWRRET | OS |  | 0 | 18
YPAL | SFTHNOPWR | YPAL |  | 0 | 21
YPAL | SFTHPWREXH | TH |  | 0 | 21
YPAL | SFTHPWRRET | TH |  | 0 | 21
YPAL | SFTSNOPWR | YPAL |  | 0 | 20
YPAL | SFTSPWREXH | TS |  | 0 | 20
YPAL | SFTSPWRRET | TS |  | 0 | 20
YPAL | SFVFD.EXHAUST1 | 2P1 |  | 0 | 8
YPAL | SFVFD.EXHAUST1 | 2P2 |  | 0 | 8
YPAL | SFVFD.EXHAUST1 | BRF |  | 0 | 8
YPAL | SFVFD.EXHAUST1 | EVFD |  | 0 | 11
YPAL | SFVFD.EXHAUST1 | EVFD |  | 1 | 82
YPAL | SFVFD.EXHAUST1 | MD |  | 0 | 8
YPAL | SFVFD.EXHAUST1 | NA |  | 0 | 8
YPAL | SFVFD.EXHAUST1 | RET1 |  | 0 | 12
YPAL | SFVFD.EXHAUST1 | RET1 |  | 1 | 82
YPAL | SFVFD.EXHAUST1 | RET2 |  | 0 | 12
YPAL | SFVFD.EXHAUST1 | RET2 |  | 1 | 82
YPAL | SFVFD.EXHAUST2 | 2P1 |  | 0 | 13
YPAL | SFVFD.EXHAUST2 | 2P2 |  | 0 | 13
YPAL | SFVFD.EXHAUST2 | BRF |  | 0 | 13
YPAL | SFVFD.EXHAUST2 | EVFD |  | 0 | 9
YPAL | SFVFD.EXHAUST2 | EVFD |  | 1 | 13
YPAL | SFVFD.EXHAUST2 | EVFD |  | 2 | 82
YPAL | SFVFD.EXHAUST2 | MD |  | 0 | 13
YPAL | SFVFD.EXHAUST2 | NA |  | 0 | 13
YPAL2 | BSI1NOPWR | YPAL2 |  | 0 | 74
YPAL2 | BSI1PWREXH | EFI1 |  | 0 | 74
YPAL2 | BSI1PWREXH | EFIR |  | 0 | 73
YPAL2 | BSI1PWRRET | RFI1 |  | 0 | 74
YPAL2 | BSI1SNOPWR | YPAL2 |  | 0 | 53
YPAL2 | BSI1SPWREXH | EFI1S |  | 0 | 53
YPAL2 | BSI1SPWREXH | EFIR |  | 0 | 73
YPAL2 | BSI1SPWRRET | RFI1S |  | 0 | 53
YPAL2 | BSI2NOPWR | YPAL2 |  | 0 | 75
YPAL2 | BSI2PWREXH | EFI2 |  | 0 | 75
YPAL2 | BSI2PWREXH | EFIR |  | 0 | 73
YPAL2 | BSI2PWRRET | RFI2 |  | 0 | 75
YPAL2 | BSI2SNOPWR | YPAL2 |  | 0 | 54
YPAL2 | BSI2SPWREXH | EFI2S |  | 0 | 54
YPAL2 | BSI2SPWREXH | EFIR |  | 0 | 73
YPAL2 | BSI2SPWRRET | RFI2S |  | 0 | 54
YPAL2 | NOSFVFD.EXHAUST | EVFD.BYP |  | 0 | 14
YPAL2 | NOSFVFD.EXHAUST | EVFD.BYP |  | 1 | 82
YPAL2 | NOSFVFD.EXHAUST | EVFD.NA |  | 0 | 9
YPAL2 | NOSFVFD.EXHAUST | EVFD.NA |  | 1 | 82
YPAL2 | PRTU.CABINET.FINALFLT |  | FLT | 0 | 63
YPAL2 | PRTU.CABINET.FINALFLT |  | FLT | 1 | 64
YPAL2 | PRTU.CABINET.FINALFLT |  | FLT | 2 | 65
YPAL2 | PRTU.CABINET.FINALFLT |  | FLTSM | 0 | 63
YPAL2 | PRTU.CABINET.FINALFLT |  | FLTSM | 1 | 64
YPAL2 | PRTU.CABINET.FINALFLT |  | FLTSM | 2 | 65
YPAL2 | PRTU.CONDENSER.CCOAT |  | POS | 0 | 57
YPAL2 | PRTU.CONDENSER.CCOAT |  | PRE | 0 | 56
YPAL2 | PRTU.CONDENSER.COMRACC |  | BLNK | 0 | 61
YPAL2 | PRTU.CONDENSER.COND |  | CU | 0 | 55
YPAL2 | PRTU.CONDENSER.GUARD |  | GRD | 0 | 59
YPAL2 | PRTU.CONDENSER.GUARD |  | PNL | 0 | 60
YPAL2 | PRTU.CONDENSER.PIPE |  | HGB | 0 | 76
YPAL2 | PRTU.CONDENSER.PIPE |  | HGBALL | 0 | 77
YPAL2 | PRTU.CONDENSER.VLVS |  | VLV | 0 | 79
YPAL2 | PRTU.ECON.DMP |  | 2POS | 0 | 38
YPAL2 | PRTU.ECON.DMP |  | 2POS | 1 | 62
YPAL2 | PRTU.ECON.DMP |  | ACT | 0 | 34
YPAL2 | PRTU.ECON.DMP |  | ACT | 1 | 62
YPAL2 | PRTU.ECON.DMP |  | MAN | 0 | 62
YPAL2 | PRTU.ECON.EECTL |  | DUAL | 0 | 40
YPAL2 | PRTU.ECON.EECTL |  | SGL | 0 | 39
YPAL2 | PRTU.ECON.IAQ |  | CO2 | 0 | 72
YPAL2 | PRTU.EVAPORATOR.EVAP |  | CU | 0 | 58
YPAL2 | PRTU.EXHAUST.EXH |  | 2P1 | 0 | 6
YPAL2 | PRTU.EXHAUST.EXH |  | 2P2 | 0 | 6
YPAL2 | PRTU.EXHAUST.EXH |  | EVFD | 0 | 6
YPAL2 | PRTU.EXHAUST.EXH |  | MD | 0 | 6
YPAL2 | PRTU.EXHAUST.EXH |  | MD | 1 | 81
YPAL2 | PRTU.EXHAUST.FR |  | RF | 0 | 5
YPAL2 | PRTU.EXHAUST.RA |  | BR | 0 | 32
YPAL2 | PRTU.EXHAUST.RA |  | RR | 0 | 30
YPAL2 | PRTU.FILTER.FILT |  | ANG1 | 0 | 66
YPAL2 | PRTU.FILTER.FILT |  | ANG2 | 0 | 67
YPAL2 | PRTU.FILTER.FILT |  | ANG3 | 0 | 68
YPAL2 | PRTU.FILTER.FILT |  | ANG4 | 0 | 69
YPAL2 | PRTU.FILTER.FILT |  | F65 | 0 | 70
YPAL2 | PRTU.FILTER.FILT |  | F95 | 0 | 71
YPAL2 | PRTU.MODEL |  | YPAL2 | 0 | 1
YPAL2 | PRTU.MODEL |  | YPAL2 | 1 | 2
YPAL2 | PRTU.MODEL |  | YPAL2 | 2 | 3
YPAL2 | PRTU.MODEL |  | YPAL2 | 3 | 4
YPAL2 | PRTU.MODEL |  | YPAL2 | 4 | 22
YPAL2 | PRTU.MODEL |  | YPAL2 | 5 | 25
YPAL2 | PRTU.MODEL |  | YPAL2 | 6 | 33
YPAL2 | PRTU.MODEL |  | YPAL2 | 7 | 48
YPAL2 | PRTU.MODEL |  | YPAL2 | 8 | 50
YPAL2 | PRTU.MODEL |  | YPAL2 | 9 | 80
YPAL2 | PRTU.PLENUM.DIS |  | B | 0 | 31
YPAL2 | PRTU.PLENUM.DIS |  | L | 0 | 29
YPAL2 | PRTU.PLENUM.DIS |  | R | 0 | 29
YPAL2 | PRTU.PLENUM.NGCAP | MG | NG1125 | 0 | 43
YPAL2 | PRTU.PLENUM.NGCAP | MG | NG375 | 0 | 41
YPAL2 | PRTU.PLENUM.NGCAP | MG | NG750 | 0 | 42
YPAL2 | PRTU.PLENUM.NGCAP | MGSS | NG1125 | 0 | 43
YPAL2 | PRTU.PLENUM.NGCAP | MGSS | NG375 | 0 | 41
YPAL2 | PRTU.PLENUM.NGCAP | MGSS | NG750 | 0 | 42
YPAL2 | PRTU.PLENUM.NGCAP | NG | NG1125 | 0 | 46
YPAL2 | PRTU.PLENUM.NGCAP | NG | NG375 | 0 | 44
YPAL2 | PRTU.PLENUM.NGCAP | NG | NG750 | 0 | 45
YPAL2 | PRTU.PLENUM.NGCAP | NGSS | NG1125 | 0 | 46
YPAL2 | PRTU.PLENUM.NGCAP | NGSS | NG375 | 0 | 44
YPAL2 | PRTU.PLENUM.NGCAP | NGSS | NG750 | 0 | 45
YPAL2 | PRTU.POWER.CONV |  | OUTL | 0 | 78
YPAL2 | PRTU.POWER.CTLACC |  | TSTAT | 0 | 51
YPAL2 | PRTU.POWER.CTLACC |  | ZONE1 | 0 | 52
YPAL2 | PRTU.POWER.WIRE |  | DPT | 0 | 28
YPAL2 | PRTU.POWER.WIRE |  | SPD | 0 | 26
YPAL2 | PRTU.POWER.WIRE |  | SPT | 0 | 27
YPAL2 | PRTU.REFRIG |  | R407C | 0 | 47
YPAL2 | PRTU.REFRIG |  | R410A | 0 | 47
YPAL2 | PRTU.ROOFCURB.CURB |  | RCO1 | 0 | 95
YPAL2 | PRTU.ROOFCURB.CURB |  | RCO2 | 0 | 96
YPAL2 | PRTU.SUPPLYFAN.FS |  | AF1 | 0 | 7
YPAL2 | PRTU.SUPPLYFAN.FS |  | AF2 | 0 | 7
YPAL2 | PRTU.WARR |  | WARR1YR | 0 | 83
YPAL2 | PRTU.WARRA |  | WA2YR | 0 | 85
YPAL2 | PRTU.WARRA |  | WA2YRPA | 0 | 84
YPAL2 | PRTU.WARRA |  | WA5YR | 0 | 89
YPAL2 | PRTU.WARRA |  | WA5YRPA | 0 | 88
YPAL2 | PRTU.WARRCOMPR |  | WARRCOMPR5YR | 0 | 87
YPAL2 | PRTU.WARRCOMPR |  | WARRCOMPR5YRPARTS | 0 | 86
YPAL2 | SFOHNOPWR | YPAL2 |  | 0 | 19
YPAL2 | SFOHPWREXH | OH |  | 0 | 19
YPAL2 | SFOHPWRRET | OH |  | 0 | 19
YPAL2 | SFOSNOPWR | YPAL2 |  | 0 | 18
YPAL2 | SFOSPWREXH | OS |  | 0 | 18
YPAL2 | SFOSPWRRET | OS |  | 0 | 18
YPAL2 | SFTHNOPWR | YPAL2 |  | 0 | 21
YPAL2 | SFTHPWREXH | TH |  | 0 | 21
YPAL2 | SFTHPWRRET | TH |  | 0 | 21
YPAL2 | SFTSNOPWR | YPAL2 |  | 0 | 20
YPAL2 | SFTSPWREXH | TS |  | 0 | 20
YPAL2 | SFTSPWRRET | TS |  | 0 | 20
YPAL2 | SFVFD.EXHAUST1 | 2P1.NA |  | 0 | 8
YPAL2 | SFVFD.EXHAUST1 | 2P2.NA |  | 0 | 8
YPAL2 | SFVFD.EXHAUST1 | BRF.NA |  | 0 | 8
YPAL2 | SFVFD.EXHAUST1 | EVFD.BYP |  | 0 | 8
YPAL2 | SFVFD.EXHAUST1 | EVFD.BYP |  | 1 | 14
YPAL2 | SFVFD.EXHAUST1 | EVFD.BYP |  | 2 | 82
YPAL2 | SFVFD.EXHAUST1 | EVFD.NA |  | 0 | 11
YPAL2 | SFVFD.EXHAUST1 | EVFD.NA |  | 1 | 82
YPAL2 | SFVFD.EXHAUST1 | MD.NA |  | 0 | 8
YPAL2 | SFVFD.EXHAUST1 | NA.NA |  | 0 | 8
YPAL2 | SFVFD.EXHAUST1 | RET1.NA |  | 0 | 12
YPAL2 | SFVFD.EXHAUST1 | RET1.NA |  | 1 | 82
YPAL2 | SFVFD.EXHAUST1 | RET2.NA |  | 0 | 12
YPAL2 | SFVFD.EXHAUST1 | RET2.NA |  | 1 | 82
YPAL2 | SFVFD.EXHAUST2 | 2P1.NA |  | 0 | 13
YPAL2 | SFVFD.EXHAUST2 | 2P2.NA |  | 0 | 13
YPAL2 | SFVFD.EXHAUST2 | BRF.NA |  | 0 | 13
YPAL2 | SFVFD.EXHAUST2 | EVFD.BYP |  | 0 | 16
YPAL2 | SFVFD.EXHAUST2 | EVFD.BYP |  | 1 | 82
YPAL2 | SFVFD.EXHAUST2 | EVFD.NA |  | 0 | 9
YPAL2 | SFVFD.EXHAUST2 | EVFD.NA |  | 1 | 13
YPAL2 | SFVFD.EXHAUST2 | EVFD.NA |  | 2 | 82
YPAL2 | SFVFD.EXHAUST2 | MD.NA |  | 0 | 13
YPAL2 | SFVFD.EXHAUST2 | NA.NA |  | 0 | 13
YPAL3 | BSI1NOPWR | YPAL3 |  | 0 | 74
YPAL3 | BSI1PWREXH | EFI1 |  | 0 | 110
YPAL3 | BSI1PWREXH | EFI2 |  | 0 | 74
YPAL3 | BSI1PWREXH | EFIR |  | 0 | 74
YPAL3 | BSI1PWREXH | EFIR |  | 1 | 73
YPAL3 | BSI1PWREXH | EFN |  | 0 | 74
YPAL3 | BSI1PWRRET | RFI1 |  | 0 | 114
YPAL3 | BSI1PWRRET | RFI2 |  | 0 | 74
YPAL3 | BSI1SNOPWR | YPAL3 |  | 0 | 53
YPAL3 | BSI1SPWREXH | EFI1S |  | 0 | 112
YPAL3 | BSI1SPWRRET | RFI1S |  | 0 | 116
YPAL3 | BSI2NOPWR | YPAL3 |  | 0 | 75
YPAL3 | BSI2PWREXH | EFI1 |  | 0 | 111
YPAL3 | BSI2PWREXH | EFI2 |  | 0 | 75
YPAL3 | BSI2PWREXH | EFIR |  | 0 | 75
YPAL3 | BSI2PWREXH | EFIR |  | 1 | 73
YPAL3 | BSI2PWREXH | EFN |  | 0 | 75
YPAL3 | BSI2PWRRET | RFI1 |  | 0 | 115
YPAL3 | BSI2PWRRET | RFI2 |  | 0 | 75
YPAL3 | BSI2SNOPWR | YPAL3 |  | 0 | 54
YPAL3 | BSI2SPWREXH | EFI2S |  | 0 | 113
YPAL3 | BSI2SPWRRET | RFI2S |  | 0 | 117
YPAL3 | NOSFVFD.EXHAUST | EVFD.EFBYP |  | 0 | 14
YPAL3 | NOSFVFD.EXHAUST | EVFD.NA |  | 0 | 9
YPAL3 | PRTU.CABINET.DIFFUSER |  | DIFF | 0 | 63
YPAL3 | PRTU.CABINET.FINALFLT |  | FLT | 0 | 64
YPAL3 | PRTU.CABINET.FINALFLT |  | FLT | 1 | 65
YPAL3 | PRTU.CABINET.FINALFLT |  | FLTSM | 0 | 64
YPAL3 | PRTU.CABINET.FINALFLT |  | FLTSM | 1 | 99
YPAL3 | PRTU.CABINET.WALLS |  | DBL | 0 | 3
YPAL3 | PRTU.COILOPT |  | HIGH | 0 | 109
YPAL3 | PRTU.CONDENSER.CCOAT |  | POS | 0 | 57
YPAL3 | PRTU.CONDENSER.CCOAT |  | PRE | 0 | 56
YPAL3 | PRTU.CONDENSER.COMPRACC |  | BLNK | 0 | 61
YPAL3 | PRTU.CONDENSER.COND |  | CU | 0 | 55
YPAL3 | PRTU.CONDENSER.DRIDER |  | RCD | 0 | 80
YPAL3 | PRTU.CONDENSER.GUARD |  | GRD | 0 | 59
YPAL3 | PRTU.CONDENSER.GUARD |  | PERF | 0 | 107
YPAL3 | PRTU.CONDENSER.GUARD |  | PNL | 0 | 60
YPAL3 | PRTU.CONDENSER.LA |  | LAO1 | 0 | 22
YPAL3 | PRTU.CONDENSER.LA |  | LAO2 | 0 | 23
YPAL3 | PRTU.CONDENSER.PIPE |  | HGB | 0 | 76
YPAL3 | PRTU.CONDENSER.VLVS |  | VLV | 0 | 79
YPAL3 | PRTU.CONDENSER.VLVS |  | VLVD | 0 | 108
YPAL3 | PRTU.CONSENSER.CFAN |  | HIGHBLADE | 0 | 101
YPAL3 | PRTU.ECON.DMP |  | 2575IAQ | 0 | 36
YPAL3 | PRTU.ECON.DMP |  | 2POS | 0 | 38
YPAL3 | PRTU.ECON.DMP |  | ACT | 0 | 34
YPAL3 | PRTU.ECON.DMP |  | FIAQ | 0 | 35
YPAL3 | PRTU.ECON.DMP |  | MIAQ | 0 | 37
YPAL3 | PRTU.ECON.EECTL |  | DUAL | 0 | 40
YPAL3 | PRTU.ECON.EECTL |  | SGL | 0 | 39
YPAL3 | PRTU.ECON.IAQ |  | CO2 | 0 | 72
YPAL3 | PRTU.EVAPORATOR.DRAIN |  | PNT | 1 | 100
YPAL3 | PRTU.EVAPORATOR.DRAIN |  | SS | 0 | 4
YPAL3 | PRTU.EVAPORATOR.EVAP |  | CU | 0 | 58
YPAL3 | PRTU.EXHAUST.EXHRET |  | 2P1 | 0 | 6
YPAL3 | PRTU.EXHAUST.EXHRET |  | 2P2 | 0 | 6
YPAL3 | PRTU.EXHAUST.EXHRET |  | EVFD | 0 | 6
YPAL3 | PRTU.EXHAUST.EXHRET |  | MD | 0 | 6
YPAL3 | PRTU.EXHAUST.EXHRET |  | MD | 1 | 81
YPAL3 | PRTU.EXHAUST.EXHRET |  | RET1 | 0 | 5
YPAL3 | PRTU.EXHAUST.EXHRET |  | RET2 | 0 | 5
YPAL3 | PRTU.EXHAUST.RA |  | BR | 0 | 32
YPAL3 | PRTU.EXHAUST.RA |  | RR | 0 | 30
YPAL3 | PRTU.EXHAUST.RA |  | SRL | 0 | 30
YPAL3 | PRTU.EXHAUST.RA |  | SRR | 0 | 30
YPAL3 | PRTU.FILTER.FILT |  | ANG1 | 0 | 66
YPAL3 | PRTU.FILTER.FILT |  | ANG2 | 0 | 67
YPAL3 | PRTU.FILTER.FILT |  | ANG3 | 0 | 68
YPAL3 | PRTU.FILTER.FILT |  | ANG4 | 0 | 69
YPAL3 | PRTU.FILTER.FILT |  | F65 | 0 | 70
YPAL3 | PRTU.FILTER.FILT |  | F95 | 0 | 71
YPAL3 | PRTU.HEAT |  | EH | 0 | 104
YPAL3 | PRTU.HEAT |  | HW | 0 | 102
YPAL3 | PRTU.HEAT |  | ST | 0 | 103
YPAL3 | PRTU.MODEL |  | YPAL3 | 5 | 25
YPAL3 | PRTU.MODEL |  | YPAL3 | 6 | 33
YPAL3 | PRTU.MODEL |  | YPAL3 | 11 | 47
YPAL3 | PRTU.PLENUM.DIS |  | B | 0 | 31
YPAL3 | PRTU.PLENUM.DIS |  | L | 0 | 29
YPAL3 | PRTU.PLENUM.DIS |  | R | 0 | 29
YPAL3 | PRTU.PLENUM.HIALT |  | HI | 0 | 105
YPAL3 | PRTU.PLENUM.NGCAP | MG | NG1125 | 0 | 43
YPAL3 | PRTU.PLENUM.NGCAP | MG | NG375 | 0 | 41
YPAL3 | PRTU.PLENUM.NGCAP | MG | NG750 | 0 | 42
YPAL3 | PRTU.PLENUM.NGCAP | MGSS | NG1125 | 0 | 43
YPAL3 | PRTU.PLENUM.NGCAP | MGSS | NG375 | 0 | 41
YPAL3 | PRTU.PLENUM.NGCAP | MGSS | NG750 | 0 | 42
YPAL3 | PRTU.PLENUM.NGCAP | NG | NG1125 | 0 | 46
YPAL3 | PRTU.PLENUM.NGCAP | NG | NG375 | 0 | 44
YPAL3 | PRTU.PLENUM.NGCAP | NG | NG750 | 0 | 45
YPAL3 | PRTU.PLENUM.NGCAP | NGSS | NG1125 | 0 | 46
YPAL3 | PRTU.PLENUM.NGCAP | NGSS | NG375 | 0 | 44
YPAL3 | PRTU.PLENUM.NGCAP | NGSS | NG750 | 0 | 45
YPAL3 | PRTU.PLENUM.NGLP |  | LP | 0 | 106
YPAL3 | PRTU.POWER.COMM |  | BACMSTP | 0 | 1
YPAL3 | PRTU.POWER.COMM |  | MODBUS | 0 | 118
YPAL3 | PRTU.POWER.CONV |  | OUTL | 0 | 78
YPAL3 | PRTU.POWER.CTLACC |  | TSTAT | 0 | 51
YPAL3 | PRTU.POWER.CTLACC |  | ZONE1 | 0 | 52
YPAL3 | PRTU.POWER.CTLACC |  | ZONE2 | 0 | 52
YPAL3 | PRTU.POWER.CTLACC |  | ZONE3 | 0 | 52
YPAL3 | PRTU.POWER.CTLACC |  | ZONE4 | 0 | 52
YPAL3 | PRTU.POWER.UNITCTL |  | IPU | 0 | 50
YPAL3 | PRTU.POWER.WIRE |  | DPT | 0 | 28
YPAL3 | PRTU.POWER.WIRE |  | SPD | 0 | 26
YPAL3 | PRTU.POWER.WIRE |  | SPT | 0 | 27
YPAL3 | PRTU.ROOFCURB.CURB |  | RCO1 | 0 | 95
YPAL3 | PRTU.ROOFCURB.CURB |  | RCO2 | 0 | 96
YPAL3 | PRTU.SUPPLYFAN.FS |  | AF1 | 0 | 7
YPAL3 | PRTU.SUPPLYFAN.FS |  | AF1 | 1 | 2
YPAL3 | PRTU.SUPPLYFAN.FS |  | AF2 | 0 | 7
YPAL3 | PRTU.SUPPLYFAN.FS |  | AF2 | 1 | 2
YPAL3 | PRTU.SUPPLYFAN.VFD |  | MIT | 0 | 48
YPAL3 | PRTU.SUPPLYFAN.VFD |  | VAV | 0 | 48
YPAL3 | PRTU.WARR |  | WARR1YR | 0 | 83
YPAL3 | PRTU.WARRA |  | WA2YR | 0 | 85
YPAL3 | PRTU.WARRA |  | WA2YRPA | 0 | 84
YPAL3 | PRTU.WARRA |  | WA5YR | 0 | 89
YPAL3 | PRTU.WARRA |  | WA5YRPA | 0 | 88
YPAL3 | PRTU.WARRCOMPR |  | WARRCOMPR5YR | 0 | 87
YPAL3 | PRTU.WARRCOMPR |  | WARRCOMPR5YRPARTS | 0 | 86
YPAL3 | SFOHNOPWR | YPAL3 |  | 0 | 19
YPAL3 | SFOHPWREXH | OH |  | 0 | 19
YPAL3 | SFOHPWRRET | OH |  | 0 | 19
YPAL3 | SFOSNOPWR | YPAL3 |  | 0 | 18
YPAL3 | SFOSPWREXH | OS |  | 0 | 18
YPAL3 | SFOSPWRRET | OS |  | 0 | 18
YPAL3 | SFTHNOPWR | YPAL3 |  | 0 | 21
YPAL3 | SFTHPWREXH | TH |  | 0 | 21
YPAL3 | SFTHPWRRET | TH |  | 0 | 21
YPAL3 | SFTSNOPWR | YPAL3 |  | 0 | 20
YPAL3 | SFTSPWREXH | TS |  | 0 | 20
YPAL3 | SFTSPWRRET | TS |  | 0 | 20
YPAL3 | SFVFD.NOPWREXH | NA |  | 0 | 8
YPAL3 | SFVFD.NOPWREXH | SFBYP |  | 0 | 13
YPAL3 | SFVFD.PWREXH1 | NA |  | 0 | 8
YPAL3 | SFVFD.PWREXH1 | SFBYP |  | 0 | 13
YPAL3 | SFVFD.PWREXHVFD | EFBYP |  | 0 | 11
YPAL3 | SFVFD.PWREXHVFD | EFBYP |  | 1 | 14
YPAL3 | SFVFD.PWREXHVFD | NA |  | 0 | 11
YPAL3 | SFVFD.PWREXHVFD | SFBYP |  | 0 | 11
YPAL3 | SFVFD.PWREXHVFD | SFBYP |  | 1 | 13
YPAL3 | SFVFD.PWRRET | NA |  | 0 | 12
YPAL3 | SFVFD.PWRRET | SFBYP |  | 0 | 12